## IRIS AM software features  - Current capabilities:

- Measure temperature of scene – min, mean and max temperature displayed

- Markers highlighting max and minimum temperature

- Changeable colour map

- Temperatures acquired via either power curve fitting (IRIS method) or from look up table (Callum’s method) calibration method

- 1 box ROI with average temperature within box displayed

- Record TIFs and AVI video

## IRIS AM software features  - To implement:

- 2 versions of isotherm:

  - 2 slope normalization – set temperature range of interest, allow more “colour resolution” in one part of the temperature range

  - True “isotherm” – paint pixels in temperature range of interest one colour

- Add ROIs/lines/points (multiple) – separate temperature indicator for image and ROI

- Temperature image histogram – also definable in ROI/line

- Temperature alerts for ROIs

- Emissivity changeable – ROI specific?

- Tracking temperature of ROI over time – time series output